WEST virginia legislature

2023 regular session

ENROLLED

Committee Substitute

for

House Bill 2762

By Delegates Nestor, Horst, Clark, Hanna, Longanacre, Martin, Hott, Riley, Honaker, Vance and Statler

[Passed March 2, 2023; in effect ninety days from passage.]

AN ACT to amend and reenact §15A-11-3 and §15A-11-5 of the Code of West Virginia, 1931, as amended, all relating to requiring the State Fire Commission to promulgate rules pertaining to sprinkler protection; requiring that buildings commencing construction after a certain date shall be protected by automatic sprinkler systems; providing that certain buildings are exempt from State Fire Code rules pertaining to sprinkler protection; providing that certain buildings are exempt from State Building Code rules pertaining to sprinkler protection.

Be it enacted by the Legislature of West Virginia:

ARTICLE 11. FIRE COMMISSION.

§15A-11-3. Promulgation of rules and State Fire Code.

(a) Pursuant to the provisions of §29A-3-1 *et seq.* of this code, the State Fire Commission shall propose and promulgate comprehensive rules for the safeguarding of life and property from the hazards of fire and explosion to be known as the State Fire Code. Rules embodied in the State Fire Code shall be in accordance with standard safe practice as embodied in widely recognized standards of good practice for fire prevention and fire protection and have the force and effect of law in the several counties, municipalities, and political subdivisions of the state: *Provided*, That buildings or structures utilized primarily for agricultural purposes shall be exempt from the provisions of the State Building Code, the State Fire Code, and any county or municipal building code or ordinance that is or may be adopted, such as the ICC International Property Maintenance Code. The rule shall include, but not be limited to, standard safe practices for the design, construction, location, installation, maintenance, and operation of liquefied petroleum gas systems, and training standards and qualifications for persons who install or maintain liquefied petroleum gas systems.

(b) The State Fire Commission may establish work groups and seek input in the rulemaking process from groups or individuals with an interest in any aspect of the fire code.

(c) For purposes of this section, the term “agricultural purposes” means the raising, cultivation, drying, harvesting, marketing, production, or storage of agricultural products, including both crops and livestock, for sale or use in agriculture or agricultural production, or the storage of machinery or equipment used in support of agricultural production.

(d) The State Fire Commission shall propose rules for legislative approval in accordance with the provisions of §29A-3-1 *et seq.* of this code relating to sprinkler protection, specifically providing that buildings commencing construction after July 1, 2023, housing emergency fire, rescue, or ambulance services shall be protected throughout by approved automatic sprinkler systems: *Provided*, That emergency services buildings that house only equipment, are less than 5,000 square feet, and do not have designated sleeping areas or quarters within them, regardless when constructed or commencing construction, are exempt from this requirement.

**15A-11-5. Promulgation of rules and statewide building code.**

(a) The State Fire Commission shall propose rules for legislative approval in accordance with the provisions of §29A-3-1 *et seq.* of this code to safeguard life and property and to ensure the quality of construction of all structures erected or renovated throughout this state through the adoption of a State Building Code. The rule may include provisions regarding building construction, renovation, and all other aspects as related to the construction and mechanical operations of a structure. The rule shall include building energy codes. The rules shall be in accordance with standard safe practices so embodied in widely recognized standards of good practice for building construction and all aspects related thereto and have force and effect in those counties and municipalities adopting the State Building Code: *Provided*, That each county or municipality may adopt the code to the extent that it is only prospective and not retroactive in its application; *Provided, however*, That buildings or structures utilized primarily for agricultural purposes shall be exempt from the provisions of the State Building Code, the State Fire Code, and any county or municipal building code or ordinance that is or may be adopted, such as the ICC International Property Maintenance Code.

(b) The State Fire Commission may establish advisory boards as it considers appropriate to encourage representative participation in subsequent rulemaking from groups or individuals with an interest in any aspect of the State Building Code or related construction or renovation practices.

(c) For the purpose of this section, the term "building code" is intended to include all aspects of safe building construction and mechanical operations and all safety aspects related thereto. Whenever any other state law, county, or municipal ordinance, or regulation of any agency thereof is more stringent or imposes a higher standard than is required by the State Building Code, the provisions of the state law, county or municipal ordinance, or regulation of any agency thereof governs if they are not inconsistent with the laws of West Virginia and are not contrary to recognized standards and good engineering practices. In any question, the decision of the State Fire Commission determines the relative priority of any such state law, county or municipal ordinance, or regulation of any agency thereof, and determines compliance with State Building Code by officials of the state, counties, municipalities, and political subdivisions of the state.

(d) Enforcement of the provisions of the State Building Code is the responsibility of the respective local jurisdiction. Also, any county or municipality may enter into an agreement with any other county or municipality to provide inspection and enforcement services: *Provided*, That any county or municipality may adopt the State Building Code with or without adopting the BOCA National Property Maintenance Code. If a county adopts a property maintenance code or ordinance including, but not limited to, the ICC International Property Maintenance Code, such code or ordinance shall exempt all property used for agricultural purposes or otherwise cause such property to be exempted from any such code or ordinance from enforcement. Any such code that may be or is adopted by any county shall be and is unenforceable as to agricultural property.

(e) After the State Fire Commission has promulgated rules as provided in this section, each county or municipality intending to adopt the State Building Code shall notify the State Fire Marshal of its adoption.

(f) The State Fire Commission may conduct public meetings in each county or municipality adopting the State Building Code to explain the provisions of the rules.

(g) The provisions of the State Building Code relating to the construction, repair, alteration, restoration, and movement of structures are not mandatory for existing buildings and structures identified and classified by the State Register of Historic Places under the provisions of §29-1-8 of this code or the National Register of Historic Places, pursuant to 54 U.S.C. § 302101 *et seq.* Prior to renovations regarding the application of the State Building Code, in relation to historical preservation of structures identified as such, the authority having jurisdiction shall consult with the Division of Culture and History, State Historic Preservation Office. The final decision is vested in the State Fire Marshal. Additions constructed on a historic building are not excluded from complying with the State Building Code.

(h) For purposes of this section, the term "agricultural purposes" has the same meaning as is set forth in §15A-11-3 of this code.

(i) The State Fire Commission shall propose rules for legislative approval in accordance with the provisions of §29A-3-1 *et seq.* of this code relating to sprinkler protection, specifically providing that buildings commencing construction after July 1, 2023, housing emergency fire, rescue, or ambulance services shall be protected throughout by approved automatic sprinkler systems: *Provided,* That emergency services buildings that house only equipment, are less than 5,000 square feet, and do not have designated sleeping areas or quarters within them, regardless when constructed or commencing construction, are exempt from this requirement

The Clerk of the House of Delegates and the Clerk of the Senate hereby certify that the foregoing bill is correctly enrolled.

...............................................................

*Clerk of the House of Delegates*

...............................................................

*Clerk of the Senate*

Originated in the House of Delegates.

In effect ninety days from passage.

...............................................................

*Speaker of the House of Delegates*

...............................................................

*President of the Senate*

\_\_\_\_\_\_\_\_\_\_

The within is ................................................ this the...........................................

Day of ..........................................................................................................., 2023.

.............................................................

*Governor*